Operator _______________________	Laptop _______________________		Date _______________________	     Mooring ______________________

Instrument S/N: ______________________

Functionality check

External power applied?

Test deployment filename: …………………………………………………………………………………………………………………………….

Settings: avg interval = 6s, measurement interval = 6s

Sensors check:

| Temp | Press | Tilt |  |  |  |  | Compass |  |  |  | Amplitude – air (dB) |  |  | Amplitude – rub (dB) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | level | left | right | fwd | bwd | N | E | S | W | Beam1 | Beam2 | Beam3 | Beam1 | Beam2 | Beam3 |

Data check:

| Start recorder deployment | Data download ok? | Conversion ok? | Data check |
| --- | --- | --- | --- |

Comments:

Deployment

Memory cleared?

| Deployment settings: |  | Performance estimates: |
| --- | --- | --- |
| Instrument Deployment length: …………………… days Battery type: internal = ………………………………………. external = ………………………………………. | Profile Range: Start = ……………… m End = ……………… m Cell size = ……………… m Power level = …………………… Sampling: Avg interval = …………... s Measurement interval = …………… s Measurement load = ……………… Coord system = ……………… Telemetry format = ……………… Enable serial output? Deployment Filename = ………………………………………………………………………… Start date + time = …………………………………………………..…… PC clock synchronized to GPS Clock synchronized to PC LED: On for 24 hours Off Deploy Time: ……………………… | Estimated max length = …………………… days Power Usage = …………………… Wh Memory Usage = …………………… MB Horizontal prec = …………………… cm/s Vertical prec = …………………… cm/s |
| Application Fine Coarse Alternating: ratio ……………… |  |  |
| Environment Sound velocity: Fixed = ……………… Measured - salinity = ……………… Orientation: Up Down Depth = ……………… m Mounting: Fixed frame Subsurface buoy Surface buoy |  |  |

Dummy plugs in   		External battery pack plugged in   		LED blinking at startup time