## Sheet1
Cruise = OSNAP
deployment = 5
Mooring = rteb1_05_2018
Mooring = rtwb1_05_2018
Mooring = rtwb2_05_2018
Mooring = ib3_01_2018
Mooring = ib4_01_2018
Mooring = ib5_01_2018
Z | ID | serial | deployed | recovered | general trend applied | pressure drift removal | pressure offset aplied to cond. | cond set to dummies? | temp set to dummies? | pres set to dummies? | complete | comments
50 | 375 | 117 |  | EB1 | [7 empty] | deepseaphox
495 | 370 | 1310 |  | WB1 | [6 empty] | y
1575 | 337 | 3218 |  | WB2 | N | N | N |  |  |  | y
1000 | 337 | 3276 |  | EB1 | N | N | N |  |  |  | y
250 | 337 | 3481 |  | WB1 | N | n | n | n | n | n | y
102 | 370 | 6534 |  | EB1 | [6 empty] | y
2297 | 370 | 6723 |  | IB3
698 | 337 | 8077 |  | IB4
1502 | 337 | 8078 |  | IB4
901 | 337 | 8079 |  | IB4
1502 | 337 | 8080 |  | IB3
498 | 337 | 8081 |  | IB3
184 | 337 | 8082 |  | IB5
1469 | 370 | 8120 |  | IB4
880 | 370 | 8365 |  | IB5
480 | 337 | 8443 |  | IB5
1650 | 337 | 9113 |  | EB1 | N | N | N |  |  |  | y
50 | 337 | 9140 |  | WB1 | Y | N | n |  |  |  | y | not caldip'd due to lack of time for a CTD with suitable depth (sahloower than 1500 m)
1570 | 370 | 9213 |  | WB1 | [6 empty] | y
348 | 337 | 9371 |  | IB4
1770 | 337 | 9372 |  | WB2 | N | N | N |  |  |  | y
47 | 337 | 9373 |  | IB4
1902 | 337 | 9374 |  | IB4
1760 | 337 | 9375 |  | EB1 | N | N | N |  |  |  | y
329 | 337 | 9376 |  | IB5
1000 | 337 | 9377 |  | WB1 | N | N | N |  |  |  | y
47 | 337 | 9378 |  | IB3
1469 | 370 | 9822 |  | IB3
1350 | 370 | 9853 |  | WB1 | [6 empty] | y
494 | 370 | 9861 |  | EB1 | [6 empty] | y
486 | 370 | 9867 |  | IB5
1768 | 370 | 9874 |  | EB1 | [6 empty] | y
995 | 370 | 9877 |  | WB1 | [6 empty] | y
996 | 370 | 9881 |  | EB1 | [6 empty] | y
1765 | 370 | 9885 |  | WB2 | [6 empty] | y
750 | 337 | 10559 |  | WB1 | N | N |  |  |  |  | y
1250 | 337 | 10560 |  | EB1 | N | N | N |  |  |  | y
199 | 337 | 10561 |  | IB3
1500 | 337 | 10562 |  | EB1 | N | N | N |  |  |  | y
750 | 337 | 10577 |  | EB1 | N | N | N |  |  |  | y
1902 | 337 | 10578 |  | IB3
698 | 337 | 10579 |  | IB3
2796 | 370 | 11034 |  | IB3
2297 | 370 | 11051 |  | IB4
95 | 370 | 11058 |  | WB1 | [6 empty] | y
1349 | 370 | 11063 |  | EB1 | [6 empty] | y
1000 | 370 | 11064 |  | WB2 | [6 empty] | y
1350 | 370 | 11067 |  | WB2 | [6 empty] | y
244 | 370 | 11069 |  | EB1 | [6 empty] | y
500 | 337 | 11287 |  | EB1 | Y | N | N |  |  |  | y | flooded on caldip
250 | 337 | 11288 |  | EB1 | N | N | N |  |  |  | y
103 | 337 | 11289 |  | EB1 | N | N | N |  |  |  | y
50 | 337 | 11290 |  | EB1 | N | N | N |  |  |  | y
1199 | 337 | 11321 |  | IB3
2302 | 337 | 11323 |  | IB4
901 | 337 | 11324 |  | IB3
498 | 337 | 11326 |  | IB4
2802 | 337 | 11328 |  | IB4
500 | 337 | 11329 |  | WB1 | N | N |  |  |  |  | y
1199 | 337 | 11331 |  | IB4
199 | 337 | 11332 |  | IB4
33 | 337 | 11333 |  | IB5
2802 | 337 | 11336 |  | IB3
1250 | 337 | 11337 |  | WB1 | N | N |  |  |  |  | y
685 | 337 | 11339 |  | IB5
2302 | 337 | 11340 |  | IB3
103 | 337 | 13019 |  | IB3
348 | 337 | 13021 |  | IB3
2796 | 370 | 13142 |  | IB4
76 | 324 | 13872 |  | IB5
1500 | 337 | 14353 |  | WB1 | N | N |  |  |  |  | y
1575 | 337 | 14354 |  | WB1 | N | N |  |  |  |  | y
100 | 337 | 14355 |  | WB1 | N | N | n | [0 831] | n | n | y | fouled instrument all cond. Disregarded
89 | 337 | 14356 |  | IB5
103 | 337 | 14366 |  | IB4
874 | 337 | 14367 |  | IB5
1000 | 337 | 14368 |  | WB1 | N | N |  |  |  |  | y
950 | 335 | 15254 |  | EB1 | N | [6 empty] | leaked pressure casing discovered on recovery, no data returned
750 | 335 | 15298 |  | EB1 | Y | N | N | [0 827] |  |  | y | bad conductiviy - all data excluded
75 | 324 | 20957 |  | IB3
77 | 324 | 20958 |  | IB4
75 | 324 | 20959 |  | IB5
75 | 324 | 20960 |  | IB3
75 | 324 | 20962 |  | IB4